GeneticBot: a synthetic-case feasibility study of a web-based decision aid for pre-test genetic counselling in high-risk breast cancer

Lama Abujamous1,2, Abdelghani Tbakhi3, Hikmat Abdel-Razeq4,5, Nancy Hakooz6 , Hamda Al-Thawadi1*, Iyad Sultan5,7,8*, Ahmed E. Alkaff9

- Department of Basic Medical Sciences, College of Medicine, QU Health, Qatar University, Doha, Qatar.

- Office of Vice President for Research and Graduate Studies, Qatar University, Doha, Qatar.

- Department of Pathology and Molecular Medicine, McMaster University, Hamilton, ON, Canada.

- Department of Medicine, King Hussein Cancer Center, Amman, Jordan.

- College of Medicine, University of Jordan, Amman, Jordan.

- School of Pharmacy, The University of Jordan, Amman, Jordan.

- Department of Pediatrics, King Hussein Cancer Center, Amman, Jordan

- Office of Artificial Intelligence, King Hussein Cancer Center, Amman, Jordan

- FilterLab, Aden, Yemen.

*Corresponding authors: Iyad Sultan, Department of Pediatric Oncology, King Hussein Cancer Center, Amman, Jordan. Email: isultan@khcc.jo; Hamda Al-Thawadi, Department of Basic Medical Sciences, College of Medicine, QU Health, Qatar University, Doha, Qatar. E-mail: halthawadi@qu.edu.qa halthawadi@qu.edu.qa halthawadi@qu.edu.qa

Keywords: Breast Cancer, Genetic Counselling, Decision Support System, Chatbot, Digital Health, Risk Assessment, Family Pedigree Tools

Abstract:
Genetic counselling remains essential for hereditary-cancer care, yet access is constrained by workforce shortages, especially in low-resource settings. We developed GeneticBot, a web-based decision aid that guides pre-test counselling and automates eligibility checks for hereditary breast-cancer testing aligned to established criteria; National Comprehensive Cancer Network (NCCN). The tool provides structured intake, risk prompts, documented rationales, and printable summaries for patients and clinicians. We evaluated GeneticBot using a set of 50 synthetic, non-identifiable test cases to assess concordance of eligibility decisions and the clarity of generated counselling summaries. The pilot demonstrated consistent, reproducible determinations and streamlined documentation, supporting feasibility of digital pre-test triage. GeneticBot is not a substitute for clinical judgement; rather, it augments counsellor workflows and can help prioritize limited appointments. Wider deployment could improve access, standardize decision-making, and reduce bottlenecks in regions where genetic-counselling capacity is limited.

- Introduction:

Genetic counselling is central to identifying individuals at elevated risk of hereditary cancers, particularly breast cancer. The NCCN Clinical Practice Guidelines in Oncology (NCCN Guidelines)s for Genetic/Familial High-Risk Assessment: Breast, Ovarian and Pancreatic offer a widely adopted framework for risk stratification, testing eligibility and downstream management, and are used across cancer centres and research programs to promote consistent, evidence-based decisions. In practice, adherence is variable, most notably in settings with limited counselling capacity, because application of the guidelines requires detailed appraisal of family history, tumour features and personal risk factors, which is both expertise-intensive and time-consuming. Consequently, some high-risk patients remain untested or receive incomplete pre-test counselling. Implementing scalable, guideline-concordant workflows, incorporating structured documentation, patient education and accommodation for local constraints, could improve access and equity in hereditary cancer risk assessment (1,2) .

Approximately 5–10% of breast cancers are attributable to inherited pathogenic variants, most commonly in the high-penetrance genes BRCA1 and BRCA2 (3). In unselected, population-based cohorts, pathogenic variants across established predisposition genes are detected in ~5% of cases, consistent with large NEJM analyses (e.g., 5.03% across 12 genes) (4). This burden underpins guideline-driven recommendations for genetic risk assessment and testing. At the same time, many regions, particularly in the Middle East, face a marked shortage of trained genetic counsellors, often rely heavily on physician-led or ad-hoc models to meet rising demand and the growing complexity of genomic interpretation (5). Consequently, alternative service-delivery approaches (telephone/video telegenetics, mainstreaming, group counselling) and digital tools (decision aids, intake chat assistants, algorithmic triage) have expanded to improve access, efficiency, and patient knowledge, with professional guidelines and systematic reviews supporting comparable outcomes to in-person counselling when implemented appropriately (6,7).

The introduction of massively parallel sequencing reduced time and cost enabled multigene panel testing, and improved diagnostic yield (8,9). However, challenges persist, including interpreting variants of uncertain significance (VUS) and managing large volumes of genetic data (10,11). To address these challenges, NCCN Guidelines recommend genetic testing for hereditary cancers (12). However, adherence to these Guidelines varies, especially in regions with limited healthcare infrastructure.

Across the Middle East, genomic medicine is increasingly prioritized, with Egypt, Qatar, Saudi Arabia, Jordan, and the UAE advancing national initiatives, training programs, and service expansion (5,13). Large-scale population genomics programs and local training initiatives have expanded genetic services in these nations. However, genetic counselling remains in its early stages in many parts of the region. The high prevalence of consanguinity and endogamy-related genetic disorders has driven demand for services (14). Despite this need, there are only about 40 trained genetic counsellors serving over 450 million people, primarily based in Saudi Arabia and the UAE (15). This shortage presents significant challenges, particularly in underserved areas, where access to qualified professionals remains scarce. Barriers to genetic counselling in the Middle East include limited availability of trained specialists (16), cultural and ethical concerns related to genetic testing and disclosure of hereditary risks, healthcare system limitations such as inadequate and lack of formal genetic counselling programs. Addressing these issues requires innovative service models, increased regional training programs, and greater integration of digital tools to support genetic counselling.

These challenges underscore the need for digital approaches that simplify pre-test education, bring consistency to risk assessment, and cut administrative load. Telemedicine, decision-support systems, and interactive tools can structure education, standardize evaluations, and lessen the workload for genetic counsellors (17–19). To address this gap, our study developed GeneticBot, a web-based decision aid that operationalizes the NCCN Guidelines to automate pre-test eligibility assessment and provide structured, accessible pre-test genetic counselling. By embedding National Comprehensive Cancer Network (NCCN) criteria within a digital decision-support framework, the system aims to enhance accessibility, standardize triage, and support informed decision-making in regions where trained genetic counsellors are limited.

- Methods:

  - Ethical compliance:

We confirm that ethical compliance has been upheld in the use of the NCCN Guidelines for Genetic/Familial High-Risk Assessment: Breast, Ovarian, and Pancreatic. V.3.2024. National Comprehensive Cancer Network, Inc. 2024. All rights reserved. A formal confirmation letter from the NCCN has been received, granting explicit authorization to utilize these Guidelines for their intended purpose.

This study used only fully synthetic, non-identifiable test scenarios. No human participants or patient data were involved; therefore, the project received a Not Human Subjects Research (NHSR) determination from the King Hussein Cancer Center Institutional Review Board (Protocol No. XXXXXX; determination issued on XX June 2026). The Likert-scale and user-evaluation instruments included in Supporting Data 7 were prepared for a future phase-2 study and were not administered in the present work. Any future real-world evaluation involving patients or clinicians will require prospective ethics review before implementation

  - Design Science Research Methodology (DSRM)

This study applies the DSRM to develop and implement a web-based decision aid integrated with a Chatbot to improve pre-test genetic counselling for high-risk breast cancer patients. DSRM, introduced by Ken Peffers et al., follows structured phases, Design and Development, Demonstration and Evaluation, and Communication and Conclusion to address practical challenges in genetic counselling systematically (20). Unlike traditional research focusing on empirical hypothesis testing, Design Science Research (DSR) emphasizes creating and refining innovative solutions for real-world problems, making it particularly relevant for improving healthcare interventions (21,22).

By leveraging DSRM's iterative process, this study aims to enhance genetic service accessibility and efficiency and addressing gaps in traditional counselling models. The framework ensures a measured, phased approach where each stage improves patient engagement and decision-making. The development of the Decision Aid System (DAS) and Chatbot is structured across multiple increments, each refined through continuous evaluation. This research advances digital tools in genetic counselling and lays a foundation for further studies and innovations in the field, integrating technology-driven solutions into clinical practice. The research framework for DAS and Chatbot is outlined in Figure 1.

The development of the Decision Aid System (DAS) and Chatbot is structured across multiple increments, each refined through continuous evaluation. The sequential lifecycle of this methodologies cycle maps the progression from problem definition to final communication and iterative refinement loops (Fig1)

The study follows the DSRM, progressing through key phases to enhance pre-test genetic counselling for high-risk breast cancer patients.

2.2.1 This study proceeds in two phases. First phase, it defines the research problem by identifying gaps in pre-test genetic counselling and the corresponding need for a decision-aid system with an integrated chatbot to enhance efficiency and accessibility. Second phase, it sets the aim and objectives: to evaluate whether a web-based decision aid and chatbot, aligned with NCCN Guidelines, improve service efficiency and access for high-risk breast cancer patients, while examining shortcomings of traditional counselling, detailing the digital design, and assessing its impact on accessibility and efficiency.

2.2.2 Phases 3 to 5: Design and Development, Demonstration and Evaluation

Design and Development: The study follows an iterative approach, ensuring refinement at each stage. In the first increment, it reviews both traditional and modern counselling models to identify key limitations affecting accessibility. Building on these insights, the second increment involves the Development of comprehensive knowledge base and sequential framework using both literature review and NCCN Guideline recommendations. These elements are then integrated into a Chatbot, and decision aid system designed to support risk assessment and facilitate informed decision-making (see Supporting Data 1). In the third increment, a web-based genetic counselling tool is developed to facilitate patient data entry for pre-test genetic assessment.

These elements are then integrated into a Chatbot and decision aid system designed to support risk assessment and facilitate informed decision-making (see Supporting Data 1). Figs 2 and 3 present the extraction pathways and runtime system sequences from multimodal data intake to backend evaluation, detailing how raw files are structurally handled across software layers.

The application aims to take the user through different stages such as sign-up, entering personal and clinical information, and predicting the eligibility of high breast cancer patient for genetic testing with the help of Artificial Intelligence. The system architecture consists of a frontend built with Hypertext Markup Language (HTML), Cascading Style Sheets (CSS), and JavaScript, and a backend developed using Hypertext Preprocessor (PHP), a My Structured Query Language (MySQL) database for data storage, and integration with OpenAI for AI-based analysis and a Chatbot feature.

To our knowledge, this is the first locally developed, web-integrated pedigree and triage workflow targeting MENA high-risk breast cancer. Users can manually construct pedigrees with guided instructions or upload an existing pedigree for AI-assisted eligibility assessment.

This study introduces a novel, locally developed web-integrated pedigree and triage workflow targeting high-risk breast cancer. Users can manually construct pedigrees with guided instructions or upload an existing pedigree for AI-assisted eligibility assessment.

Demonstration and Evaluation: The first increment phase assessed the literature review’s depth and relevance, using a pre-test genetic counselling questionnaire to identify gaps in service accessibility and efficiency. Likert-scale responses evaluated whether proposed solutions addressed care gaps for high-risk breast cancer patients, guiding refinements to align interventions with clinical needs. The second increment phase involved expert assessments of the framework’s information quality, media clarity, and structural logic. The third increment phase focused on testing the system’s effectiveness using synthetic cases to evaluate its accuracy in identifying high-risk patients according to NCCN Guidelines. For future validation, additional evaluation tools were developed, including multiple-choice questions to assess patient understanding of the risks and benefits of genetic testing, and a comparative questionnaire to evaluate DAS versus the traditional approach (TA). Feedback from both healthcare providers and patients was also incorporated to improve system refinement and integration into clinical practice. To maintain guideline compliance, automated API updates, manual audits, version control, and NCCN collaboration were proposed to sustain accuracy and usability in clinical practice.

2.2.3 Phase 6: Communication and Conclusion

Findings will be disseminated through journal publications, conferences, and technical reports. The final phase ensures visibility and academic contribution, while future work will focus on real-world validation and expanding applications in genetic counselling services.

  - NCCN Compliance Validation

To validate concordance with NCCN Guidelines, experts from the domain (genetic counsellor and oncologist) constructed 50 fully synthetic cases (see Supporting Data 2 and 3). Each case included a three-generation pedigree, pathology report, and a spreadsheet capturing every variable required for the TA review and the DAS. The sheet’s layout ensured transparent, reproducible comparisons: column A listed the case number; columns B–C recorded current age and relevant family history; column D contained the TA eligibility decision reached under NCCN v3.2024 (A = eligible, B = ineligible). Columns E–H documented age at diagnosis plus ER, PR, and HER2 status, while columns I–K specified the exact NCCN criteria applied in TA. The same clinical fields captured by the first DAS run populated columns L–P, its cited criteria appeared in columns Q–S, and the binary call from an independent second DAS run occupied column T, with its extracted variables in columns U–AA. Column AB reported DAS accuracy relative to the adjudicated TA criteria, and column AC summarised intra-system precision, defined as textual agreement between runs.

Our spectrum-coverage case mix intentionally spans all DSA indication criteria, including borderline and rare scenarios, to stress-test the tool, limit spectrum bias, and guide rule refinements. Representativeness will be addressed in phase-2 using a consecutive or prevalence-weighted cohort.

All pedigrees and pathology reports were uploaded into the decision-support application by two users who are not trained in cancer genetics and the DAS operators were blinded to the TA labels during system runs; the system was executed twice for each case, yielding two independent machine-generated narratives (Report 1 and Report 2). Both sets of outputs were subsequently subjected to review by a genetic counsellor to verify completeness, clinical accuracy, and consistency with NCCN eligibility criteria (see Supporting Data 4 and 5).

RAG Framework & Sample Size:

  - System Architecture, RAG Framework & Sample Size:

We implemented a Retrieval-Augmented Generation (RAG) framework to operationalize NCCN Guidelines® (v3.2024) for pre-test eligibility and counselling. We indexed a structured NCCN knowledge base for semantic retrieval. For each case, the system extracted key clinical and pedigree fields, then retrieved the most relevant NCCN passages. It used these to construct a grounded prompt for GPT-4, which generated a rationale-rich eligibility report with explicit NCCN triggers.

System Architecture Diagram The following diagram illustrates the flow of information from user input to the final eligibility report, explicitly delineating the boundaries of the LLM-driven components (Fig 4).

Architectural Description GeneticBot operates on a hybrid architecture that integrates a static, rule-based knowledge framework with a dynamic, LLM-driven decision engine.

1. The Rule-Based Knowledge Framework The system relies on the NCCN Clinical Practice Guidelines as its absolute source of truth. The Retrieval-Augmented Generation (RAG) architecture securely loads these guidelines as static reference documents. This component is strictly deterministic; it does not generate information but rather retrieves the exact textual rules required for evaluation.

2. The LLM-Driven Decision Engine The boundary between rule-based guidelines and AI evaluation occurs at the prompt level. The system does not utilize a deterministic if/else software engine to calculate eligibility. Instead, the raw clinical inputs (pedigree and pathology reports) and the retrieved NCCN rules are passed to the GPT-4o Evaluation Model. The LLM acts as the decision engine, dynamically evaluating the unstructured clinical narrative against the provided rules to determine if the criteria are met. Consequently, the final classification outcome is generative and influenced directly by the LLM's reasoning capabilities.

3. Safety Mechanisms and Hallucination Mitigation Because the decision engine is generative, the architecture relies heavily on Prompt-Level Safety Mechanisms rather than post-processing software guardrails. To mitigate hallucination and enforce reliability, the system employs:

- Zero-Shot Constraints: The model is explicitly commanded to strictly tether its reasoning to the text (e.g., "Do NOT assume eligibility unless one or more NCCN criteria are explicitly met").

- Temperature Control: The RAG framework sets the LLM's temperature parameter to 0, effectively neutralizing creative text generation in favor of highly deterministic, reproducible outputs.

- Fail-Safe Defaults: If clinical data (such as a family history) is ambiguous or incomplete, the prompt instructions naturally act as a fail-safe, forcing the LLM to default to an "ineligible" or "insufficient data" classification, thereby safely deferring the final judgment to the human clinician.

Knowledge maintenance relied on authorized guideline access and version control. To evaluate feasibility, spectrum coverage, and preliminary accuracy, we constructed 50 fully synthetic cases. Each case comprised a three-generation pedigree and a pathology report. We assumed 30–35 eligible (positive) cases. For this set, a 95% CI for sensitivity would be approximately ±12–15% if true sensitivity is 0.80–0.90, which we deemed acceptable for phase-1 validation (23). The case mix intentionally spanned the full range of DAS indication criteria, including borderline and rare scenarios. This approach was used to reduce spectrum bias and stress-test decision rules. Representativeness will be addressed in a subsequent consecutive or prevalence-weighted cohort. Two blinded non-genetics operators ran the system twice per case to assess reproducibility. A genetic counsellor adjudicated outputs against a Traditional Approach (TA) benchmark. Across the 50 cases, DAS achieved 98% decision-level concordance with TA (κ≈0.94), sensitivity 1.00, specificity ~0.91, and perfect decision-level reproducibility (κ=1.0), with narrative differences confined to non-critical notes.

  - Methods used for the validation study:

We profiled the cohort, computing ranges, means, and frequency distributions for age, receptor status, and pedigree complexity.  The same dataset was independently processed twice, in random order, by DAS operators who were blinded to TA criteria. For each run we cross-tabulated DAS output against TA label, yielding a 2 × 2 confusion matrix from which sensitivity, specificity, positive- and negative-predictive values, overall accuracy, and their exact 95% confidence intervals were calculated.  The chance-corrected agreement was summarised with Cohen’s κ, and systematic discordance between paired proportions was checked with the exact McNemar test (two-sided, α = 0.05).  To visualize discriminative ability, we plotted receiver-operating-characteristic (ROC) curves and estimated the area under the curve (AUC) with 95 % CIs.  Reproducibility was assessed by cross classifying the two independent DAS runs.  All analyses were performed in R 4.4.1. yielding a 2 × 2 confusion matrix from which performance metrics were calculated. The chance-corrected agreement was summarized with Cohen's kappa )κ(, and systematic discordance was checked with the exact McNemar test. The execution path of this experimental design spans case construction through dual-processing pipelines to extract these direct performance measures (Fig 5). All analyses were performed in R 4.4.1.

- Results:

  - Identifying Shortcomings in The Pre-test genetic Counselling Phase

This study examined the transition from single-gene testing to multigene panel testing facilitated by Massively Parallel Sequencing (MPS) technology, with a focus on time and cost efficiency, the challenges in managing variants of uncertain significance (VUS), and the application of genomic sequencing across diverse patient phenotypes.

This study examined the transition from single-gene testing to multigene panel testing facilitated by MPS technology, with a focus on time and cost efficiency, the challenges in managing VUS, and the application of genomic sequencing across diverse patient phenotypes.

Different genetic counselling models, including face-to-face, telephonic, videoconferencing, and group counselling, were analyzed to assess their effectiveness, accessibility, and scalability. The findings emphasized the need for innovative service delivery models that enhance patient access while maintaining the quality of genetic counselling services.

The outcome of this phase serves as a foundation for subsequent research and implementation steps, guiding the development of digital tools to improve accessibility and efficiency in genetic counselling. Expanding genetic services to underserved areas, where specialists are scarce, is a critical goal. This phase highlights the importance of integrating online decision-making tools and Chatbot technologies to support various stages of the genomic testing pathway, from pre-test education to post-test counselling. The effectiveness of these tools will be assessed based on their ability to identify eligible high-risk patients, alleviate patient anxiety, enhance genetic understanding, and simplify the counselling process. Studies have shown that, compared to traditional methods, telegenetics and video-based counselling improve patient engagement and comprehension. Moving forward, the focus will be on ensuring these digital solutions effectively address the identified gaps in pre-test genetic counselling and contribute to better patient outcomes and healthcare resource utilization.

  - A Structured Knowledge Base Framework

The framework comprises two core components: the DAS and a Chatbot. The process is initiated with the DAS module, which begins with introductory materials, a script, and a video explaining genetic counselling and testing to orient users to the process. It then outlines the DAS system through a script and video summarizing the Genetic Testing Journey, guiding patients through key stages. The system requires users to input personal information, clinical history, and a three-generation family pedigree to evaluate eligibility against NCCN criteria. Educational modules cover genetic concepts (inheritance modes, multigene panels, and test outcomes) and test risks/benefits through paired scripts and videos for clarity. The framework adapts based on patient decisions (agreeing or declining testing), providing tailored next steps. The DAS aims to simplify complex genetic information, support informed consent, and align patient choices with clinical Guidelines by integrating multimedia resources, structured data collection, and decision pathways.

The Chatbot will serve as the second part of the framework, designed to support high-risk breast cancer patients by addressing frequently asked questions (FAQs) across multiple pre-test genetic counselling domains, including personal and family history, psychological, educational, clinical, sociological, and physiological aspects. Additionally, it will provide information on high-penetrance breast cancer susceptibility genes such as BRCA1, BRCA2, CDH1, PALB2, PTEN, and TP53, along with references for commonly asked questions. Beyond the Chatbot, the framework will incorporate multiple-choice questions to measure patient understanding of genetic testing, covering its benefits, risks, limitations, and uncertainties. Finally, a questionnaire has been developed to systematically assess the DAS system in a genetic clinic setting, comparing its effectiveness to the TA to ensure informed decision-making and optimize patient experience as a future plan.

  - Synthetic Cases Analysis:

    - Validation Cohort

We evaluated 50 fully synthetic breast cancer cases expressly built for this study. Each case comprised a three-generation pedigree, pathology report, and a structured spreadsheet capturing every variable needed for the NCCN v3.2024 review and the DAS comparison. The cohort spans women aged 29 – 76 years (mean ≈ 51.8 y), with cancers first diagnosed between 28 – 75 years (mean ≈ 49.6 y). Biologically, tumors were evenly split by estrogen-receptor status (26 ER-positive / 24 ER-negative), tended toward progesterone-receptor negativity (19 PR-positive / 31 PR-negative), and showed a slight majority of HER2-negative disease (21 HER2-positive / 29 HER2-negative). The pedigree review revealed a spectrum of family-history complexity: 17 simple, 29 moderate, and 5 complex pedigrees. Together, these attributes define a diverse yet tightly characterized validation set against which all subsequent performance statistics are interpreted (see Table 1).

| Metric | Details | Value |
| --- | --- | --- |
| Current Age | Range | 29 – 76 y |
|  | Mean | 51.76 y |
| Age at Diagnosis | Range | 28 – 75 y |
|  | Mean | 49.6 y |
| Tumour Subtype | ER | 26 Positive / 24 Negative |
|  | PR | 19 Positive / 31 Negative |
|  | HER2 | 21 Positive / 29 Negative |
| Pedigree Complexity | Simple (no family history) | 17 cases |
|  | Moderate (1 relative) | 29 cases |
|  | Complex (≥ 2 relatives) | 5 cases |

Table 1: Descriptive Characteristics of the Breast Cancer Testing Cohort.

Legend: Descriptive characteristics of the 50 fully synthetic, non-identifiable test cases used for validation. Continuous variables are summarized as median [IQR] (and range where shown); categorical variables as n (%). Age refers to current age at assessment; “Age at diagnosis” refers to first primary breast-cancer diagnosis. Tumor receptors are recorded as estrogen receptor (ER), progesterone receptor (PR), and human epidermal growth factor receptor 2 (HER2). “Pedigree complexity” reflects number of affected relatives across three generations (simple = none, moderate = one, complex = ≥2 relatives). No human participant data were used. Abbreviations: ER, estrogen receptor; PR, progesterone receptor; HER2, human epidermal growth factor receptor 2; IQR, interquartile range.

    - Diagnostic Accuracy of the DAS:

The DAS correctly classified 46 of 50 synthetic cases (92 % accuracy), mischaracterized one case (2 %) by treating “breast cancer diagnosed > 50 years” as an NCCN trigger and issued three partially correct reports (6 %) that matched the eligibility criteria but included an unnecessary receptor-status remark or omitted one risk criteria (see Table 2). The 46/50 (92 %) figure counts only reports whose narrative exactly matched the TA with no extra or missing criteria, 46 perfect, 3 eligibility-correct with minor narrative issues, and 1 true error. The 49/50 (98 %) figure reflects the binary eligibility decision from the confusion matrix (TP = 39, TN = 10, FP = 1, FN = 0). In other words, DAS matched TA eligibility in 49 cases (98 %), of which 46 were also narratively perfect (92 %); 92 % = narrative exactness, 98 % = decision accuracy.

Against the TA gold standard, the corresponding confusion matrix comprised 39 true-positives, 10 true-negatives, 1 false-positive, and 0 false-negatives, yielding a sensitivity of 1.00 (95 % CI 0.91–1.00), specificity 0.91 (0.63–0.98), positive-predictive value 0.98 (0.87–1.00), negative-predictive value 1.00 (0.72–1.00), and overall accuracy 0.98; agreement was substantial (Cohen’s κ = 0.94) (see Table 2, Table 3 and Fig5 ).

| Outcome Category | Clarifying Note | Cases (n) | Percent |
| --- | --- | --- | --- |
| Correct (Yes) | Fully matches TA determination, no extra or missing criteria | 46 | 92% |
| Partially correct: extra note on ER/PR/HER2 | Added under-lined comment that ER, PR, HER2 positivity “may also warrant additional consideration,” which is not an NCCN criterion | 1 | 2% |
| Partially correct: extra note on HER2+ age 50 | Added under-lined comment “patient meets NCCN testing criteria … age 50 and HER2-positive,” which is not correct | 1 | 2% |
| Partially correct: missing one criterion | Identified as TA but omitted one required NCCN risk factor | 1 | 2% |
| Incorrect criterion interpretation | Considered “personal history of breast cancer diagnosed > 50 y” as an NCCN trigger (not valid) | 1 | 2% |

Table 2: Accuracy of the DAS System in Flagging NCCN-Eligible Cases (n = 50)

Legend: Classification outcomes for the decision-aid system (DAS) across 50 synthetic cases relative to a prespecified reference review (“traditional approach,” TA). “Correct (Yes)” denotes exact narrative and decision agreement with TA. “Partially correct” denotes cases with the correct eligible/not-eligible decision but minor narrative issues (e.g., superfluous remarks or omission of a non-decisive criterion). “Incorrect criterion interpretation” denotes a true error affecting rationale; see text for details. Percentages are calculated as row count ÷ 50. This table summarizes narrative exactness; binary performance metrics (sensitivity, specificity, accuracy, κ, AUC) are reported separately. Abbreviations: DAS, decision-aid system; TA, traditional approach; κ, Cohen’s kappa; AUC, area under the receiver-operating-characteristic curve.

| Metric / Count | TA vs AI Run 1 | TA vs AI Run 2 | AI Run 1 vs AI Run 2 |
| --- | --- | --- | --- |
| Confusion-matrix counts |  |  |  |
| • True Negatives (TN) | 10 | 10 | 10 |
| • False Positives (FP) | 1 | 1 | 0 |
| • False Negatives (FN) | 0 | 0 | 0 |
| • True Positives (TP) | 39 | 39 | 40 |
| Cohen’s κ | 0.94 | 0.94 | 1 |
| Percent agreement | 98% | 98% | 100% |
| Sensitivity (recall) | 1 | 1 | — |
| Specificity | 0.909 | 0.909 | — |
| Positive-predictive value (PPV) | 0.975 | 0.975 | — |
| Negative-predictive value (NPV) | 1 | 1 | — |
| Overall accuracy | 0.98 | 0.98 | — |
| AUC (ROC) | 0.955 | 0.955 | — |

Table 3: Agreement & Diagnostic-Performance Metrics for TA and Two Independent AI Runs

Legend: Agreement and diagnostic-performance metrics comparing TA with two independent DAS runs on the same 50 synthetic cases, and agreement between the two DAS runs. Confusion-matrix cells (TP, TN, FP, FN) are reported for each comparison. Sensitivity, specificity, positive predictive value (PPV), negative predictive value (NPV), and overall accuracy are computed with exact 95% confidence intervals (Clopper–Pearson or Wilson as appropriate). Agreement is summarized by Cohen’s κ with 95% CIs. AUC values are derived from receiver-operating-characteristic analysis. All tests are two-sided with α = 0.05; no multiplicity adjustment was required. Abbreviations: TP, true positive; TN, true negative; FP, false positive; FN, false negative; PPV, positive predictive value; NPV, negative predictive value; κ, Cohen’s kappa; AUC, area under the curve; DAS, decision-aid system; TA, traditional approach.

Validation Study

50 Synthetic Cases

Expert Created Cases

3-Generation Pedigree
Pathology Reports

Dual processing

Traditional Approach

Expert Review

DAS Run 1

DAS Run 2

Performance Metrics

Statistical Analysis

Results

Sensitivity: 1.00

Specificity: 0.91

Accuracy: 98%

Cohen’s κ: 0.94

Figure 5: Methodological flow of the validation study.

    - Reproducibility of DAS output:

Internal reproducibility was perfect: the two independent DAS runs agreed on all 50 cases (40 TP, 10 TN, κ = 1.0). This shows that the model consistently distinguishes eligible from ineligible patients with high sensitivity and minimal false positives, confirming reproducible diagnostic performance (see Table 3).

    - Agreement with Traditional Expert Review:

Across the 50-case validation set, the DAS reached the same eligibility criteria as the TA in 49 cases, giving an overall concordance of 98 %. Agreement was high for both independent DAS runs (AI-1 and AI-2): Cohen’s κ = 0.94 (95 % CI 0.82 – 1.00) against the manual benchmark in each run, and a perfect κ = 1.00 when the two AI outputs were compared with each other. An exact McNemar test of the TA-vs-AI disagreement cells returned p = 1.00, indicating no systematic bias in the rare discordant call. Taken together, these figures place DAS solidly in the “almost-perfect” agreement range, (see Table 4).

| Metric | Value |
| --- | --- |
| Agreement TA vs AI-1 | 98% |
| Agreement TA vs AI-2 | 98% |
| Agreement AI-1 vs AI-2 | 100% |
| Cohen’s κ (TA vs AI-1) | 0.94 (95 % CI 0.82 – 1.00) |
| Cohen’s κ (TA vs AI-2) | 0.94 (95 % CI 0.82 – 1.00) |
| Cohen’s κ (AI-1 vs AI-2) | 1 |
| McNemar test (TA vs AI; exact, two-sided) | p = 1.00 |

Table 4: Summary of concordance statistics between the traditional approach (TA) and two independent DAS runs.

Legend: Summary of concordance statistics between TA and each independent DAS run, and between the two DAS runs. “Agreement” is the simple percent of identical eligible/not-eligible calls. Cohen’s κ (with 95% CI) quantifies chance-corrected agreement (0–1 scale). The exact McNemar test (two-sided, α = 0.05) evaluates asymmetry in the discordant cells (TA vs DAS) to detect systematic bias. Results indicate high reproducibility within DAS and “almost-perfect” agreement with TA on the binary eligibility decision. Abbreviations: κ, Cohen’s kappa; CI, confidence interval; DAS, decision-aid system; TA, traditional approach.

    - Error Analysis:

There were two harmless inconsistencies, one involving redundant flags that annotated non-NCCN biomarkers, and the other two reflecting partial errors, one omitting a trigger for repeated family history, and the other misapplying the age-over-50 rule. Despite these errors, the system's binary eligible vs not eligible judgment remained unchanged, so clinical management was not affected. Including a human in the loop when entering phrases and analysing family history will enhance consistency and provide fresh annotations for continuous retraining of the DAS.

  - Performance Evaluation Summary of the DAS:

Across the 50 breast cancer cases, the DAS correctly flagged 46 as meeting NCCN genetic-testing criteria, yielding an accuracy of 92 %. The four discrepancies were limited to either the omission of a single criterion or the addition of an irrelevant observation; none changed clinical judgment in a way that would jeopardize the patient's management. When the same data set was processed twice, the full narrative output from the two DAS iterations matched in 46 cases (92 %). In the remaining four, differences were restricted to explanatory sentences. At the same time, the underlying eligibility designation (“eligible” vs “not eligible”) remained identical in every case demonstrating high textual reproducibility and perfect decision-level consistency.

Comparing DAS decisions with the traditional review produced an overall concordance of 98 % and Cohen’s κ of 0.94 for each run, indicating almost perfect agreement. Agreement between the two DAS runs on the binary eligibility flag was flawless (100 %, κ = 1.00). Both runs achieved sensitivity = 1.00, specificity ≈ 0.91, and identical AUCs of 0.96, underscoring robust diagnostic performance.

  - Application Features for DAS:

The web-based Decision Aid System shepherds a high-risk breast-cancer patient through the entire pre-test journey: after a simple signup, the user watches concise welcome and orientation scripts/videos, then enters personal demographics, clinical history and a three-generation pedigree that can be drawn directly on-screen or uploaded. An AI engine analyses the pathology details and pedigree against NCCN criteria, immediately classifying eligibility and displaying an interpretive report. Eligible patients proceed to multimedia education modules that explain inheritance concepts, multigene-panel testing, result interpretation, and the benefits, risks and limits of testing. They can then electronically sign a consent form and complete a brief knowledge-check questionnaire. Throughout, an OpenAI-powered Chatbot, pre-loaded with guideline content and FAQs, offers on-demand answers across clinical, psychosocial and practical domains, making the whole process interactive, self-paced and less dependent on scarce genetic-counselling time. (see Figure 3 and Supporting Data The end-to-end user-facing pipeline coordinates this structured pathway from initial enrollment through automated risk assessment and downstream educational reinforcement loops (Fig6)

Patient Registration

Educational Videos
Genetic Counselling Introduction

Personal Information Input

Clinical History Collection

Family Pedigree Creation

Upload Existing Pedigree

Manual Pedigree Drawing

AI Analysis Engine

NCCN Guidelines Assessment

Eligibility Decision

Not Eligible

Eligible

Alternative Recommendation

Educational modules inheritance, Testing, Results

Informed Consent Process

Knowledge Assessment Quiz

ChatBot Support Available Throughout

Figure 3: Workflow of the GeneticBot web-based decision aid.

- Discussion

This project developed an innovative genetic counselling support system combining a decision aid and Chatbot to improve accessibility and efficiency in pre-test genetic counselling for high-risk breast cancer patients. Rooted in a thorough analysis of NCCN Guidelines and existing literature, the framework addresses gaps in traditional methods by enhancing patient education, streamlining decision-making, improving communication, saving time for patients and healthcare providers, and reducing resources. The system integrates clinical and family history taking, educational modules, benefits and risks of genetic testing, consent, and real-time information/consultation. By ensuring critical details are shared before consent and reducing reliance on in-person sessions, the tool aims to increase patient understanding and engagement, making genetic counselling more effective, accessible, and patient-centered.

One of the key innovative features of this application is its built-in pedigree drawing tool, which sets it apart from traditional methods. Typically, genetic counsellors manually construct pedigrees or rely on third-party software that requires an annual license, adding to the overall cost of genetic counselling services. Our DAS system integrates an automated pedigree drawing function, allowing users to create their family history diagram within the application. Users can either draw the pedigree while using the DAS application after watching a guided demonstration video or upload a hand-drawn pedigree, which the system then processes. In both cases, AI-driven tools extract relevant clinical and genetic information, integrating it with other patient’s data. This AI-assisted approach automates risk classification by assessing eligibility for genetic testing based on the NCCN criteria, thereby streamlining decision-making and enhancing the efficiency of genetic counselling services.

Table 5: Structured comparison of GeneticBot with existing digital genetics and risk-assessment tools.

| Tool | Primary output | Guideline-grounded eligibility | Explained rationale | Integrated pedigree capture | Education + consent workflow | Deployment / cost | Typical setting |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GeneticBot (this work) | NCCN pre-test eligibility (A/B) with cited triggers | Yes (NCCN v3.2024 via RAG) | Yes (LLM rationale + cited criteria) | Yes (draw on-screen or upload) | Yes (modules, e-consent, quiz, chatbot) | Web; locally deployable; no per-seat licence | Pre-test triage, low-resource/MENA |
| Tyrer-Cuzick / IBIS | Breast-cancer risk + BRCA likelihood (probability) | No (risk model, not eligibility) | Limited (numeric risk, little narrative) | No (form-based family history) | No | Free desktop/web | Risk stratification / screening |
| BOADICEA / CanRisk | Carrier probability + breast/ovarian risk | No | Limited | Partial (pedigree import/build) | No | Free web (canrisk.org) | Specialist clinic / research |
| BRCAPRO | BRCA1/2 carrier probability | No | Limited | Partial (family history input) | No | Free (BayesMendel / CRA) | Genetics clinic |
| Ask2Me | Gene-specific penetrance / management estimates | Partial (gene-based, not NCCN triage) | Limited | No | No | Free web | Clinical decision support |
| Telegenetics platforms | Remote counselling delivery | No (delivery channel) | N/A | No | Varies | Commercial / institutional | Access expansion |
| Commercial pedigree software (e.g., Progeny, PedigreeXP) | Pedigree drawing and storage | No | No | Yes (drawing/storage) | No | Paid annual licence | Genetics clinics |

Legend: Tool characteristics reflect each tool's documented primary function; readers should consult each tool's current documentation for details. The risk models (Tyrer-Cuzick, BOADICEA/CanRisk, BRCAPRO) answer a different clinical question (quantifying risk probability) than GeneticBot (evaluating explicit NCCN testing criteria). Abbreviations: RAG, retrieval-augmented generation; NCCN, National Comprehensive Cancer Network; LLM, large language model; MENA, Middle East and North Africa.

Our validation of the DAS on 50 constructed synthetic cases shows that the platform delivers expert-level performance while preserving clinical safety. DAS identified NCCN-eligible patients with perfect sensitivity and 0.91 specificity, attaining 98 % overall agreement (κ = 0.94) with traditional manual review and an AUC of 0.96.

Our validation of the DAS on 50 constructed synthetic cases shows that the platform demonstrates high concordance with established clinical guidelines. As an early-stage feasibility study, the platform successfully replicated rule-based triage decisions without compromising clinical safety. DAS identified NCCN-eligible patients with perfect sensitivity and 0.91 specificity, attaining 98 % overall agreement (κ = 0.94) with traditional manual review and an AUC of 0.96.

Two independent runs produced identical eligibility calls (κ = 1.00), underscoring excellent internal reproducibility, and the few discrepancies were confined to non-critical explanatory notes that left the “eligible-versus-not-eligible” decision unchanged. Despite these minimal variations, the DAS system effectively streamlined patient eligibility assessment, enhancing efficiency while maintaining accuracy. Integrating Human-in-the-Loop (HITL) into the process could further improve the accuracy and consistency of the DAS system. HITL involves expert review and feedback, which helps correct errors, refine details, and ensure the AI properly interprets complex or nuanced data. This process enables the AI to learn and adapt over time, resulting in more reliable outputs. Additionally, HITL enhances precision by ensuring reports follow a consistent structure, use appropriate terminology, and remain aligned with evolving requirements. By combining AI efficiency with human oversight, this approach makes reports more accurate, structured, and trustworthy, reinforcing the potential of the DAS application as a reliable tool for clinical decision-making (24) .

The use of a Decision Support Aid (DSA) and Chatbot for pre-test genetic counselling based on NCCN Guidelines in high-risk breast cancer patients presents both benefits and challenges, particularly in the MENA region. Biases may arise due to differences in genetic factors, cultural norms, healthcare systems, and resource availability compared to Western populations.

The current validation of the Decision Support Aid (DSA) and Chatbot was conducted exclusively against US-based NCCN Guidelines as a universal baseline. However, the architectural potential of these tools lies in bridging the severe genetic counselor shortage in resource-constrained settings like the MENA region. While applying Western guidelines globally presents challenges—such as biases arising from differences in genetic factors, cultural norms, and healthcare systems—the system's logic is prompt-driven rather than hardcoded. Therefore, transitioning the application to evaluate against localized MENA guidelines and epidemiology in future iterations is technically straightforward.

One notable bias emerges from the differences in genetic homogeneity. The breast cancer genes that define MENA populations and Western populations may not be the same, and such differences will be problematic if DSA and Chatbot are determined using data from the US alone. Another bias rests on cultural factors. Certain beliefs that are held concerning culture in the MENA area could affect the willingness of individuals to seek genetic counselling and testing services and could, therefore, render such services underutilized. Healthcare system disparities are also sources of bias. MENA populations have very limited access to genetic counselling and testing services compared to the western ones, which might interfere with the efficient use of such instruments. These issues have been featured in the literature regarding applying Western Guidelines in other literature and health systems settings (25).

To address these biases, one key strategy is to adapt the NCCN Guidelines to align with the genetic, cultural, and healthcare context of the MENA region. This process involves collaboration with local experts and healthcare providers, as demonstrated in the NCCN’s initiative to tailor oncology Guidelines for the MENA region. Committees of regional oncology specialists reviewed the original NCCN Guidelines and worked with NCCN experts to adjust them based on local evidence and clinical practices. For breast and ovarian cancer genetic assessment, the adapted Guidelines for MENA remain more than 95% consistent with the original NCCN Guidelines, highlighting their applicability while addressing regional nuances. This effort has fostered greater evidence-based practice and collaboration within the region (26,27). Also, altering the DSA and Chatbot programs by including data on the region's genetics and epidemiology would make them more precise and relevant to the targeted audience. Furthermore, redesigning the Chatbot to be culturally appropriate and training it to understand the context of the MENA region can also increase the acceptance of the device among the people. This can be achieved by involving the stakeholders, such as the patients, health providers, and community leaders so that the interventions are relevant to them. Finally, the DSA and Chat Bot must continually be evaluated and updated per user expectations and information emerging from the area to remain effective. By incorporating the methods discussed above, these tools should address the gaps in pre-test genetic counselling services available in the MENA region and promote genetic equity (28).

The real-world validation involving both patients and healthcare providers is essential to evaluate accessibility, efficiency, and predefined metrics (see Supporting Data 7) in comparison to traditional approaches. User feedback will be vital in assessing clarity, relevance, and satisfaction.

A primary limitation of this study is its reliance on a small sample size of 50 synthetic cases, which cannot establish real-world clinical utility or deployment readiness. Generating rigorous, clinically plausible synthetic cases—complete with matched pathology reports and multi-generational pedigrees—is highly resource-intensive; thus, these edge-cases were utilized solely to demonstrate proof-of-concept functionality and guideline concordance. Furthermore, the current prototype relies entirely on prompt engineering and lacks external, programmatic deterministic validation layers. Future clinical-grade deployments will integrate deterministic guardrails, such as a post-processing logic engine, to computationally verify the AI's reasoning. A larger-scale, real-world clinical validation study utilizing appropriate equivalence testing (e.g., Two One-Sided Tests) is required before clinical integration. User feedback will also be vital in assessing clarity, relevance, and satisfaction.

At the same time, performance metrics on accessibility and efficiency will measure the hybrid approach's effectiveness using the DAS system and Chatbot. The validation will focus on two key aspects: identifying suitable patients for genetic testing and improving efficiency and accessibility in pre-test genetic counselling for high-risk breast cancer patients using real (human) as well as synthetic cases. Future developments will integrate user-driven improvements.

In conclusion, the specialty of genetic counselling has rapidly developed, with the adoption of new technologies including Chatbots and decision aid support to meet increasing demand. There have been significant advances in AI based Chatbots and decision support systems which have made it possible for a larger population to receive and utilize the pre-test genetic counselling services effectively. Other barriers of the genetic counselling have also included the insufficiency of enough genetic counsellor. In these regards, however, relatively good telegenetics and collaborative models’ advances have been done in more genetic testing practice operational comfort. These developments highlight the urgent need for adaptation and global alignment of the profession to ensure effective, timely, and individualized care. All practitioners in genetic counselling must work toward evolving practice standards to meet the demands of modern healthcare systems.

- Declarations
5.1 Funding

The publication of this study was funded by Qatar University. The funding body had no role in the study design, data collection, analysis, or the preparation of the manuscript. No specific research funding was received.

  - Acknowledgments

We thank the NCCN for permission to use content from the 2024 NCCN Guidelines for Genetic/Familial High-Risk Assessment: Breast, Ovarian & Pancreatic (Version 3.2024) and for their constructive review and approval of this manuscript.

Referenced with permission from the NCCN Clinical Practice Guidelines in Oncology (NCCN Guidelines) for Genetic/Familial High-Risk Assessment: Breast, Ovarian, and Pancreatic V.3.2024. National Comprehensive Cancer Network, Inc. 2024.  All rights reserved. Accessed February 3, 2024. To view the most recent and complete version of the guideline, go online to NCCN.org. NCCN makes no warranties of any kind whatsoever regarding their content, use or application and disclaims any responsibility for their application or use in any way. NCCN and NCCN Guidelines are registered trademarks of the National Comprehensive Cancer Network, Inc.

- Data Availability

The study was conducted entirely with synthetic, non-identifiable test scenarios; no human participants or real health data were used. The Supporting Information includes: (1) chatbot data used in testing, (2) synthetic Pathology reports 1–50, (3) synthetic Pedigree reports 1–50 (three-generation pedigrees), (4) AI/eligibility reports with guideline-grounded rationales, (5) the eligibility rule table for all 50 cases, (6) Images for the Application (7) Metrics & Future Work (accuracy, sensitivity/specificity, κ/AUC, and planned extensions), and (8) Statistical Analysis (methods, tests, and parameters). Other materials are available from the corresponding author upon reasonable request

- Author Contributions

Conceptualization: Lama Abujamous. Methodology: Lama Abujamous & Iyad Sultan & Ahmed E. Alkaff. Software: Ahmed E. Alkaff. Validation: Lama Abujamous, Iyad Sultan, Abdelghani Tbakhi and Nancy Hakooz. Formal analysis: Lama Abujamous & Iyad Sultan. Investigation: Lama Abujamous & Iyad Sultan. Data curation (synthetic cases): Lama Abujamous. Writing-original draft: Lama Abujamous. Writing- review & editing: Lama Abujamous, Iyad Sultan, Hamda Al-Thawadi,  Abdelghani Tbakhi, Nancy Hakooz and Hikmat Abdel-Razeq & Ahmed E. Alkaff. Visualization: Lama Abujamous & Iyad Sultan. Supervision: Iyad Sultan, Hamda Al-Thawadi and Nancy Hakooz. Project administration: Iyad Sultan. Funding acquisition: Hamda Al-Thawadi.

- Competing Interests

The authors declare no competing interests.

- References

1.	Daly MB, Pal T, Maxwell KN, Churpek J, Kohlmann W, AlHilli Z, et al. NCCN Guidelines® Insights: Genetic/Familial High-Risk Assessment: Breast, Ovarian, and Pancreatic, Version 2.2024. Journal of the National Comprehensive Cancer Network. 2023 Oct;21(10):1000–10.

2.	Tayoun AAA, Fakhro KA, Alsheikh-Ali A, Alkuraya F. Genomic medicine in the Middle East. Genome Med. 2021;

3.	Wanis KN, Kuerer HM, Sun SX, Hunt KK, Glencer AC, Teshome M, et al. Clinical Outcomes for BRCA Pathogenic Variant Carriers With Breast Cancer Undergoing Breast Conservation. JAMA Netw Open. 2024 Jun 25;7(6):e2418486.

4.	Hu C, Hart SN, Gnanaolivu R, Huang H, Lee KY, Na J, et al. A Population-Based Study of Genes Previously Implicated in Breast Cancer. New England Journal of Medicine. 2021 Feb 4;384(5):440–51.

5.	Abou Tayoun AN, AlHarthi H, AlMubarak BR, others. Recommendations for interpreting genetic variants in Arab populations. NPJ Genom Med. 2021;6(1):52.

6.	Green S, Hartzfeld D, Terry AB, Fissell K, Friedman S, Paolino N, et al. An <scp>evidence‐based</scp> practice guideline of the National Society of Genetic Counselors for telehealth genetic counseling. J Genet Couns. 2023 Feb 30;32(1):4–17.

7.	Danylchuk NR, Cook L, Shane‐Carson KP, Cacioppo CN, Hardy MW, Nusbaum R, et al. Telehealth for genetic counseling: A systematic evidence review. J Genet Couns. 2021 Oct 6;30(5):1361–78.

8.	Shendure J, Ji H. Next-generation DNA sequencing. Vol. 26, Nature Biotechnology. 2008. p. 1135–45.

9.	Bamshad MJ, Ng SB, Bigham AW, Tabor HK, Emond MJ, Nickerson DA, et al. Exome sequencing as a tool for Mendelian disease gene discovery. Vol. 12, Nature Reviews Genetics. 2011. p. 745–55.

10.	Yorczyk A, Robinson LS, Ross TS. Use of panel tests in place of single gene tests in the cancer genetics clinic. Clin Genet. 2015 Sep 1;88(3):278–82.

11.	Lynce F, Isaacs C. How Far Do We Go With Genetic Evaluation? Gene, Panel, and Tumor Testing. American Society of Clinical Oncology Educational Book. 2016 May;(36):e72–8.

12.	Daly MB, Pal T, Berry MP, Buys SS, Dickson P, Domchek SM, et al. Genetic/familial high-risk assessment: Breast, ovarian, and pancreatic, version 2.2021. Vol. 19, JNCCN Journal of the National Comprehensive Cancer Network. Harborside Press; 2021. p. 77–102.

13.	Abdel-Razeq H, Sharaf B, Tamimi F, Hani HB, Alsmadi O, Khalil H, et al. Establishment of a clinical cancer genetics program for breast cancer in a resource-limited country; challenges and opportunities. Front Oncol. 2024 Oct 23;14.

14.	El Naofal M, Ramaswamy S, Alsarhan A, Nugud A, Sarfraz F, Janbaz H, et al. The genomic landscape of rare disorders in the Middle East. Genome Med. 2023 Dec 1;15(1).

15.	Abou Tayoun AN, Fakhro KA, Alsheikh-Ali A, Alkuraya FS. Genomic medicine in the Middle East. Genome Med. 2021 Dec 1;13(1).

16.	Abacan MA, Alsubaie L, Barlow-Stewart K, Caanen B, Cordier C, Courtney E, et al. The Global State of the Genetic Counseling Profession. Vol. 27, European Journal of Human Genetics. Nature Publishing Group; 2019. p. 183–97.

17.	Schmidlen T, Sturm AC, Hovick S, Scheinfeldt L, Scott Roberts J, Morr L, et al. Operationalizing the Reciprocal Engagement Model of Genetic Counseling Practice: a Framework for the Scalable Delivery of Genomic Counseling and Testing. J Genet Couns. 2018 Sep 1;27(5):1111–29.

18.	Bombard Y, Hayeems RZ. How digital tools can advance quality and equity in genomic medicine. Vol. 21, Nature Reviews Genetics. Nature Research; 2020. p. 505–6.

19.	Phillips KA, Deverka PA, Hooker GW, Douglas MP. Genetic test availability and spending: Where are we now? Where are we going? Health Aff. 2018;37(5):710–6.

20.	Peffers K, Tuunanen T, Rothenberger MA, Chatterjee S. A design science research methodology for information systems research. Journal of Management Information Systems. 2007 Dec;24(3):45–77.

21.	Sabri MO, Odeh M, Saad M. Incremental development of business process architecture using the design science research methodology. In: Proceedings of the European Conference on Research Methods in Business and Management Studies. Academic Conferences Limited; 2019. p. 285–93.

22.	Hevner A CS. Design research in information systems. Theory and practice [Internet]. 2010. Available from: http://www.springer.com/series/6157

23.	Hajian-Tilaki K. Sample size estimation in diagnostic test studies of biomedical informatics. J Biomed Inform. 2014 Apr;48:193–204.

24.	Al-Turki D, Hettiarachchi H, Gaber MM, Abdelsamea MM, Basurra S, Iranmanesh S, et al. Human-in-the-Loop Learning with LLMs for Efficient RASE Tagging in Building Compliance Regulations. IEEE Access. 2024;

25.	Cohen-Kfir N, Bentwich ME, Kent A, Dickman N, Tanus M, Higazi B, et al. Challenges to effective and autonomous genetic testing and counseling for ethno-cultural minorities: a qualitative study. BMC Med Ethics. 2020 Dec 1;21(1).

26.	Rahman Jazieh A. Adaptation of NCCN Guidelines to the Middle East and North Africa Region. Vol. 12, Journal of the National Comprehensive Cancer Network Commentary © JNCCN-Journal of the National Comprehensive Cancer Network |. 2014.

27.	Jazieh AR, Azim HA, McClure J, Jahanzeb M. The Process of NCCN GuidelinesTM Adaptation to the Middle East and North Africa Region. J Natl Compr Canc Netw [Internet]. 2010 Jul;8(Suppl 3):S-5-S-7. Available from: https://jnccn.org/doi/10.6004/jnccn.2010.0125

28.	Dianne Alameddine MS L. From West to East: Understanding the Cultural Implications of Genetic Counseling in the Middle East. perspectives.nsgc.org. 2023 Mar 23;

- Figure legends:

Figure 1: DSA & Chatbot Research Framework. This diagram summarizes the decision-aid (DSA) and Chatbot research framework used to design, build, and evaluate a pre-test genetic counselling tool. The framework follows a design-science cycle, progressing from problem definition and objective setting to iterative design/development, demonstration, and evaluation. Core components include structured intake (personal and family history), eligibility logic aligned to established clinical criteria for hereditary breast-cancer testing, education modules (benefits, risks, and limitations of testing), informed-consent support, and real-time Q&A via the Chatbot. Outputs include transparent eligibility rationales and printable summaries for clinicians and patients. The framework is intended to augment -not replace- clinical judgement, help prioritize high-risk referrals and standardize documentation in settings with limited genetics capacity.

Figure 2: Methodological flow of the validation study. Methodological flow of the validation study using 50 synthetic, non-identifiable cases. The pipeline depicts: (a) case construction and blinding; (b) two independent DSA runs (AI-1 and AI-2) applying the same published eligibility rules; (c) reference review by traditional manual assessment; and (d) concordance analysis (sensitivity, specificity, overall agreement, Cohen’s κ) and receiver-operating-characteristic analysis (AUC). In our evaluation, the system showed perfect sensitivity for identifying eligible cases, specificity of 0.91, overall agreement of 98% with manual review (κ = 0.94), and AUC = 0.96. Internal reproducibility was perfect across the two independent runs (κ = 1.00), with any differences confined to non-critical explanatory notes that did not alter eligibility calls. This flow illustrates how reproducibility and agreement were assessed without using human participants or real-world health data.

Figure 3: Workflow of the GeneticBot web-based decision aid. Workflow of the GeneticBot decision aid from user intake to output. The sequence includes: (a) guided collection of personal and family history; (b) pedigree capture via an integrated drawing tool or upload; (c) automated extraction and normalization of relevant clinical/genetic details; (d) application of established eligibility rules with explicit triggers; (e) educational prompts covering indications for testing, benefits, risks, and limitations; and (f) generation of auditable rationales and printable summaries for patients and clinicians. Optional Chatbot interaction supports clarification during intake and consent preparation. The system is designed to improve preparedness for counselling visits, standardize eligibility decisions, and reduce administrative burden while preserving human oversight.

Figure 1. Design Science Research Methodology (DSRM) framework for GeneticBot development.

This flowchart tracks the sequential six-phase lifecycle used to design, develop, and evaluate the web-based decision aid and chatbot. Phases 1 and 2 establish the clinical problem and objectives. Phases 3 through 5 encapsulate the core system build across three iterative design increments: workflow baseline assessment (First Increment), knowledge base structure configuration (Second Increment), and process assembly (Third Increment). Phase 6 completes the cycle via communication and reporting of early feasibility findings.

Figure 2. Pedigree data ingestion and preprocessing pipeline.

This flowchart details the programmatic decision logic used to parse family history inputs based on data format variables. The system evaluates whether a user has uploaded a file or submitted structured data, checking for JSON/CSV text strings, image fallbacks, and multi-format MIME types (PDF, DOCX). Valid inputs are routed to specialized extraction modules (e.g., PyPDF2, docx text parser, or Base64 image encoding) to normalize the pedigree architecture prior to language model prompt construction, while unmappable file formats trigger dedicated error exceptions.

Figure 3. End-to-end programmatic transaction and system sequence.

This sequence diagram details the real-time communications flow across the system infrastructure layers during a case evaluation. The execution sequence traces a user-initiated POST request through the FastAPI router layer, which queries historical patient records from the MySQL database and forwards raw elements to the Data Extraction Module. Following conditional document formatting loop processes (extracting text from raw uploads versus parsing native structured JSON strings), a unified prompt context is constructed and evaluated by the GPT-4o decision engine to generate the structured eligibility assessment payload.

Figure 4. System architecture and decision logic boundaries.

This block diagram outlines the operational dividing line between GeneticBot's deterministic, rule-based components and its generative evaluation model. Raw clinical inputs and the contextually isolated text extracted by the RAG retriever are fed into the prompt boundary layer. Prompt-level safety mechanisms, including explicit zero-shot constraints and a strict temperature setting of 0, apply logical guardrails to the GPT-4o evaluation engine to restrict hallucination risks and enforce textual anchoring to authorized NCCN guidelines during generation.

Figure 5. Methodological flow and performance outcomes of the synthetic-case validation study.

This flowchart tracks the experimental architecture utilized to evaluate system accuracy and reproducibility. The pipeline highlights the generation of 50 synthetic test scenarios containing multi-generational pedigrees and pathology data, followed by a dual-processing track comparison. This track balances two independent system executions (DAS Run 1 and DAS Run 2) against a manual traditional reference assessment to calculate core performance metrics, statistical analysis values, and final concordance results.

Figure 6. Patient intake and decision-support workflow within the GeneticBot portal.

This diagram outlines the sequential web interface workflow from patient onboarding to final documentation support. The system captures demographic inputs, clinical histories, and pedigree structures via manual canvas drawing or file uploads before running a retrieval-augmented NCCN guidelines evaluation. Following the binary triage decision, eligible candidates are routed to targeted genetic education modules, informed consent protocols, and comprehension quizzes under continuous chatbot availability, while non-eligible candidates receive alternative clinical recommendations.

- Supporting information captions:

- Supporting Data 1: Chatbot data.

- Supporting Data 2: Pathology_Report_1 to 50.

- Supporting Data 3: Pedigree_reports_ 1 to 50.

- Supporting Data 4: AI Reports.

- Supporting Data 5: Eligibility rule table for 50 cases.

- Supporting Data 6: The application.

- Supporting Data 7: Metrics_Future Work

- Supporting Data 8: Statistical Analysis